## Slide 1: Process map for portable nitrous oxide or nitrous oxide/oxygen cylinders
Notes: Standard title slide

## Slide 2: Background information
This resource can be used independently or together with the Nitrous oxide toolkit: Reducing waste in NHS trusts
What: This process map provides NHS trusts with a template for managing portable nitrous oxide or nitrous oxide/oxygen mixture gas cylinders. It illustrates a typical workflow from initial supply through to clinical use and empty cylinder collection. Trusts can adapt this map to reflect their local processes whilst ensuring critical safety requirements, documentation and staff responsibilities are maintained. The map serves as a starting point to visualise cylinder movement through healthcare settings and identifies essential verification points where co-signing is required.
Who: This resource is designed for NHS trust staff who are:
Reviewing their current cylinder management processes
Developing or updating local procedures
Training staff on cylinder handling
Working to optimise their medical gas supply chain It may be particularly useful for pharmacy teams, clinical leads, porter services and those responsible for medical gas safety.
When: Use this process map as a starting point when developing local procedures for portable cylinder management, during staff training sessions, when planning changes to cylinder management systems or when standardising processes across different clinical areas. The map can be adapted to suit individual trust requirements whilst maintaining essential safety and documentation steps.
Notes: Plain slide with subhead and bullets

## Slide 3: Process map
Medical Gas Supplier collects used cylinders and supplies new cylinders with delivery note
Porters collect cylinders and co-signs the collection
Porter delivers small cylinders to designated storage areas in clinical areas
Clinical staff co-sign delivery log with porter to confirm successful safe delivery
Clinician requests cylinder for use
Designated healthcare worker picks up cylinder from secure storage area
Clinician uses cylinder
Clinician turns off cylinder with a spanner
Designated healthcare worker returns cylinder to storage area
Designated healthcare worker removes Schrader valve to use for the next cylinder
Designated healthcare worker performs weekly check of cylinders in storage to: a) ensure all cylinders are accounted for b) ensure cylinders are all turned off c) check for empty cylinders
Designated healthcare worker logs task for porters to collect
Porters collect used cylinders and deposit in secure cylinder collection area
Porters notify pharmacy of cylinder change and new cylinder requirement
Pharmacy orders required cylinders for next day delivery
Are cylinders empty?
Yes
No
Key:
Medical gas supplier
Porters
Clinical staff
Pharmacy
Notes: Plain slide with subhead and bullets